## Multi Building
PROPOSED
SHEET# |  |  | DESCRIPTION
1-0 |  |  | INDEX OF SHEETS
1-1 |  |  | MANUFACTURED BUILDING DATA SHEET
| 1-1.1 |  | SUPER STRUCTURE STEEL NOTES
1-2 |  |  | BUILDING WEIGHT, C.G, LIFTING, STORAGE & TRANSPORTATION
| 1-2.1 |  | BUILDING WEIGHT, C.G, LIFTING, STORAGE & TRANSPORTATION, MODULE A
| 1-2.2 |  | BUILDING WEIGHT, C.G, LIFTING, STORAGE & TRANSPORTATION, MODULE B
1-3 |  |  | BUILDING NOTES
1-4 |  |  | FINISH SCHEDULE
1-5 |  |  | MOUNTING REQUIREMENTS
1-6 |  |  | LAYOUT OF PLATFORM, STAIRS & RAILS
1-7 |  |  | LIGHTNING PROTECTION PLAN
2-1 |  |  | FLOOR PLAN
| 2-1.1 |  | FLOOR PLAN - NEC CLEARANCE
| 2-1.2 |  | FLOOR PLAN WITH PIER LOCATIONS
2-2 |  |  | ELEVATION, EXTERNAL, WALL-A
| 2-2.1 |  | ELEVATION, EXTERNAL, WALL-A, MODULE A
| 2-2.2 |  | ELEVATION, EXTERNAL, WALL-A, MODULE B
2-3 |  |  | ELEVATION, EXTERNAL, WALL-B
| 2-3.1 |  | ELEVATION, EXTERNAL, WALL-B, MODULE A
| 2-3.2 |  | ELEVATION, EXTERNAL, WALL-B, MODULE B
2-4 |  |  | ELEVATION, EXTERNAL, WALL-C
| 2-4.1 |  | ELEVATION, EXTERNAL, WALL-C, MODULE A
| 2-4.2 |  | ELEVATION, EXTERNAL, WALL-C, MODULE B
2-5 |  |  | ELEVATION, EXTERNAL, WALL-D
| 2-5.1 |  | ELEVATION, EXTERNAL, WALL-D, MODULE A
| 2-5.2 |  | ELEVATION, EXTERNAL, WALL-D, MODULE B
2-6 |  |  | ELEVATION, INTERNAL, WALL-A
| 2-6.1 |  | ELEVATION, INTERNAL, WALL-A, MODULE A
|  | 2-6.1.1 | ELEVATION, INTERNAL, WALL-A, MODULE A, WITH CABLE TRAY
| 2-6.2 |  | ELEVATION, INTERNAL, WALL-A, MODULE B
|  | 2-6.2.2 | ELEVATION, INTERNAL, WALL-A, MODULE B, WITH CABLE TRAY
2-7 |  |  | ELEVATION, INTERNAL, WALL-B
| 2-7.1 |  | ELEVATION, INTERNAL, WALL-B, MODULE A
|  | 2-7.1.1 | ELEVATION, INTERNAL, WALL-B, MODULE A, WITH CABLE TRAY
| 2-7.2 |  | ELEVATION, INTERNAL, WALL-B, MODULE B
|  | 2-7.2.1 | ELEVATION, INTERNAL, WALL-B, MODULE B, WITH CABLE TRAY
2-8 |  |  | ELEVATION, INTERNAL, WALL-C
| 2-8.1 |  | ELEVATION, INTERNAL, WALL-C, MODULE A
|  | 2-8.1.1 | ELEVATION, INTERNAL, WALL-C, MODULE A, WITH CABLE TRAY
| 2-8.2 |  | ELEVATION, INTERNAL, WALL-C, MODULE B
|  | 2-8.2.1 | ELEVATION, INTERNAL, WALL-C, MODULE B, WITH CABLE TRAY
2-9 |  |  | ELEVATION, INTERNAL, WALL-D
| 2-9.1 |  | ELEVATION, INTERNAL, WALL-D, MODULE A
|  | 2-9.1.1 | ELEVATION, INTERNAL, WALL-D, MODULE A, WITH CABLE TRAY
| 2-9.2 |  | ELEVATION, INTERNAL, WALL-D, MODULE B
|  | 2-9.2.1 | ELEVATION, INTERNAL, WALL-D, MODULE B, WITH CABLE TRAY
2-10 |  |  | CEILING VIEW, ELECTRICAL
2-11 |  |  | CEILING VIEW ,CABLE TRAY
2-11.1 |  |  | CIELING VIEW ,CABLE TRAY SECTION DETAILS
2-12 |  |  | FLOOR CONDUIT LAYOUT
2-13 |  |  | AIR HANDLER UNIT MOUNTING DETAILS
3-1 |  |  | GROUNDING, CEILING VIEW
4-1 |  |  | FOUNDATION REACTION DIAGRAM
4-2 |  |  | BUILDING TIE-DOWN DETAILS
4-3 |  |  | INTERCONNECTION NOTES
| 4-3.1 |  | INTERCONNECTION DETAILS, FLOOR EXTERNAL
| 4-3.2 |  | INTERCONNECTION DETAILS, FLOOR INTERNAL
|  | 4-3.2.1 | INTERCONNECTION DETAILS, FLOOR SECTION VIEW
| 4-3.3 |  | INTERCONNECTION DETAILS, ROOF EXTERNAL
| 4-3.4 |  | INTERCONNECTION DETAILS, ROOF INTERNAL
| 4-3.5 |  | INTERCONNECTION DETAILS, WALL
|  | 4-3.5.1 | INTERCONNECTION DETAILS, WALL SECTION AT MODLINE HSS
| 4-3.6 |  | INTERCONNECTION DETAILS, CEILING
| 4-3.7 |  | PACKAGING BOM
5-1 |  |  | SINGLE LINE DIAGRAM
5-2 |  |  | CONTROL WIRING DIAGRAM
5-3 |  |  | POWER PANEL SCHEDULE
5-4 |  |  | LIGHTING PANEL SCHEDULE
5-5 |  |  | FIRE PANEL SCHEDULE
5-6 |  |  | UPS PANEL SCHEDULE
5-7 |  |  | VESDA PIPING LAYOUT
6-1 |  |  | DETAIL, ROOF / CEILING SECTION
6-2 |  |  | METAL WALL & FLOOR CONNECTION DETAILS
6-3 |  |  | DOOR CONNECTION DETAILS
6-4 |  |  | HVAC WALL CONNECTION DETAILS
6-5 |  |  | STRUCTURAL, WALL LAYOUT
6-6 |  |  | STRUCTURAL, ELEVATION, WALL-A
| 6-6.1 |  | STRUCTURAL, ELEVATION, WALL-A, MODULE A
| 6-6.2 |  | STRUCTURAL, ELEVATION, WALL-A, MODULE B
6-7 |  |  | STRUCTURAL, ELEVATION, WALL-B
| 6-7.1 |  | STRUCTURAL, ELEVATION, WALL-B, MODULE A
| 6-7.2 |  | STRUCTURAL, ELEVATION, WALL-B, MODULE B
6-8 |  |  | STRUCTURAL, ELEVATION, WALL-C
| 6-8.1 |  | STRUCTURAL, ELEVATION, WALL-C, MODULE A
| 6-8.2 |  | STRUCTURAL, ELEVATION, WALL-C, MODULE B
6-9 |  |  | STRUCTURAL, ELEVATION, WALL-D
| 6-9.1 |  | STRUCTURAL, ELEVATION, WALL-D, MODULE A
| 6-9.2 |  | STRUCTURAL, ELEVATION, WALL-D, MODULE B
6-10 |  |  | STRUCTURAL CEILING, ROOF AND SUPPORT BRACKETS
6-11 |  |  | HSS SUPPORT FRAME WELDING DETAILS
| 6-11.1 |  | HSS SUPPORT FRAME WELDING DETAILS, MODULE A
| 6-11.2 |  | HSS SUPPORT FRAME WELDING DETAILS, MODULE B
7-1 |  |  | FLOOR PLAN WITH Z CHANNEL DETAILS
7-2 |  |  | WELDMENT,FLOOR
| 7-2.1 |  | WELDMENT,FLOOR, MODULE A
| 7-2.2 |  | WELDMENT,FLOOR, MODULE B
7-3 |  |  | FLOOR PLATE LAYOUT
| 7-3.1 |  | FLOOR PLATE LAYOUT, MODULE A
| 7-3.2 |  | FLOOR PLATE LAYOUT, MODULE B
7-4 |  |  | FLOOR CONNECTION DETAILS
7-5 |  |  | TEMPORARY LIFTING DETAIL
TEMPORARY LIFTING DETAIL, FLOOR A
TEMPORARY LIFTING DETAIL, FLOOR B
8-1 |  |  | BILL OF MATERIALS