## Single Building
PROPOSED
SHEET# | DESCRIPTION | REV.
1-0 | INDEX OF SHEETS | A.01
1-1 | MANUFACTURED BUILDING DATA SHEET | A.01
1-2 | BUILDING WEIGHT, C.G, LIFTING, STORAGE & TRANSPORTATION | A.01
1-3 | BUILDING NOTES | A.01
1-4 | FINISH SCHEDULE | A.01
1-5 | EQUIPMENT MOUNTING REQUIREMENTS | A.01
1-6 | LAYOUT OF PLATFORM, STAIRS & RAILS | A.01
1-7 | LIGHTNING PROTECTION PLAN | A.01
2-1 | FLOOR PLAN | A.01
2-1.1 | FLOOR PLAN - NEC CLEARANCE | A.01
2-1.2 | FLOOR PLAN WITH PIER LOCATIONS | A.01
2-2 | ELEVATION, EXTERNAL, WALL-A | A.01
2-3 | ELEVATION, EXTERNAL, WALL-B | A.01
2-4 | ELEVATION, EXTERNAL, WALL-C | A.01
2-5 | ELEVATION, EXTERNAL, WALL-D | A.01
2-6 | ELEVATION, INTERNAL, WALL-A | A.01
2-7 | ELEVATION, INTERNAL, WALL-B | A.01
2-8 | ELEVATION, INTERNAL, WALL-C | A.01
2-9 | ELEVATION, INTERNAL, WALL-D | A.01
2-10 | CEILING VIEW, ELECTRICAL | A.01
2-11 | CEILING VIEW ,CABLE TRAY | A.01
2-11.1 | CIELING VIEW ,CABLE TRAY SECTION DETAILS | A.01
2-12 | FLOOR CONDUIT LAYOUT | A.01
2-13 | AIR HANDLER UNIT MOUNTING DETAILS | A.01
3-1 | CEILING VIEW, GROUNDING | A.01
4-1 | FOUNDATION REACTION DIAGRAM | A.01
4-2 | BUILDING TIE-DOWN DETAILS | A.01
5-1 | SINGLE LINE DIAGRAM | A.01
5-2 | CONTROL WIRING DIAGRAM | A.01
5-3 | POWER PANEL SCHEDULE | A.01
5-4 | LIGHTING PANEL SCHEDULE | A.01
5-5 | FIRE PANEL SCHEDULE | A.01
5-6 | UPS PANEL SCHEDULE | A.01
5-7 | VESDA PIPING LAYOUT | A.01
6-1 | DETAIL, ROOF / CEILING SECTION | A.01
6-2 | METAL WALL & FLOOR CONNECTION DETAILS | A.01
6-3 | DOOR CONNECTION DETAILS | A.01
6-4 | HVAC WALL CONNECTION DETAILS | A.01
6-5 | STRUCTURAL, WALL LAYOUT | A.01
6-6 | STRUCTURAL, ELEVATION, WALL-A | A.01
6-7 | STRUCTURAL, ELEVATION, WALL-B | A.01
6-8 | STRUCTURAL, ELEVATION, WALL-C | A.01
6-9 | STRUCTURAL, ELEVATION, WALL-D | A.01
6-10 | STRUCTURAL CEILING, ROOF AND SUPPORT BRACKETS | A.01
6-11 | HSS SUPPORT FRAME WELDING DETAILS | A.01
7-1 | FLOOR PLAN WITH Z CHANNEL DETAILS | A.01
7-2 | WELDMENT,FLOOR | A.01
7-3 | FLOOR PLATE LAYOUT | A.01
7-4 | FLOOR CONNECTION DETAILS | A.01
8-1 | BILL OF MATERIALS | A.01